## Sheet1 (hidden)
DOCKET NO. | Base Date | ITEM CODE | PROPOSE ERP ITEM NAME | Propose Drum Type | Insulation Screening(Metallic) | RM Rate(Insulation Screening(Metallic)) | Weight (Insulation Screening (Metallic)) | Cost Insulation Screening(Metallic) | Conductor | RM Rate(Conductor) | Weight(Conductor) | Cost(Conductor) | AL ALLOY | RM Rate(AL Alloy) | Weight(Al Alloy) | Cost(AL Alloy) | Insulation Screening(Non-Metallic) | RM Rate(Insulation Screening(Non-Metallic)) | Weight(Insulation Screening(Non-Metallic) | Cost(Insulation Screening(Non-Metallic) | Insulation | RM Rate(Insulation) | Weight(Insulation) | Cost(Insulation) | Poly Tape | RM Rate(Poly Tape) | Weight(Poly Tape) | Cost(Poly Tape) | Inner Sheath | RM Rate(Inner Sheath) | Weight(Inner Sheath) | Cost(Inner Sheath) | Armouring | RM Rate(Armouring) | Weight(Armouring) | Cost(Armouring) | Outer Sheath | RM Rate(Outer Sheath) | Weight(Outer Sheath) | Cost(Outer Sheath) | Filler | RM Rate(Filler) | Weight(Filler) | Cost(Filler) | Grease | RM Rate(Grease) | Weight(Grease) | Cost(Grease) | Water Swellable Tape | RM Rate(Water Swellable Tape) | Weight(Water Swellable Tape) | Cost(Water Swellable Tape) | Semi Conducting Water Swellable Tape | RM Rate(Semi Conducting Water Swellable Tape) | Weight(Semi Conducting Water Swellable Tape) | Cost(Semi Conducting Water Swellable Tape) | Semicon Tape | RM Rate(Semicon Tape) | Weight(Semicon Tape) | Cost(Semicon Tape) | Glass Fiber Tape | RM Rate(Glass Fiber Tape) | Weight(Glass Fiber Tape) | Cost(Glass Fiber Tape) | Copper Wire 0.8MM | RM Rate(Copper Wire 0.8MM) | Weight(Copper Wire 0.8MM) | Cost(Copper Wire 0.8MM) | Rubberized Cotton Tape | RM Rate(Rubberized Cotton Tape) | Weight(Rubberized Cotton Tape) | Cost(Rubberized Cotton Tape) | Water Tight Compound | RM Rate(Water Tight Compound) | Weight(Water Tight Compound) | Cost(Water Tight Compound) | Drum Cost Per KM | Total RM Cost | FIRM % | Firm Value | MFG% | MFG Value | PROF% | Profit Value | 1st EX-Works | Intt % | Intt Value | insp% | Insp Value | TTR CHARGES% | TTR Value | EX-Works Per KM | Freight Per KM | Price Including Freight Per KM | GST % | GST Value | Price Including GST & Freight Per KM | QTY | Unit | Total Price Of Full QTY(Including Freight&GST) | PARTY LENGTH (IF STANDER LENGTH NOT MATCH WITH PAR | DRUM CODE | DRUM SIZE (FxbXtx Ft)
ENQ-18775-25-26 |  | FA0400106 | 3 CORE X 120 SQ MM + 1 CORE X 125 SQ MM (AB CABLES) (INSULATED) - 11 KV | STEEL | Copper Tape - 0.060 mm |  | 136 |  | Alumimium |  | 972 |  | Alumimium Alloy |  | 348 |  | Extruded Semiconductive |  | 300 |  | HT-XLPE |  | 584 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | PVC Type ST-2 |  | 901 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | 56560 | 56560 | [6 empty] | 56560 | [6 empty] | 56560 |  | 56560 | 18% | 10180.8 | 66740.8 | 45 | KMS | 3003336 |  | SP0400123 | DRUM - 2000 X 1000 X 1200
ENQ-18775-25-26 |  | FA1300004 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | STEEL | Copper Tape - 0.04 mm |  | 108 |  | Alumimium |  | 2430 |  |  |  | 0 |  | Extruded Semiconductive |  | 337 |  | HT-XLPE |  | 802 |  |  |  | 0 |  | PVC Type ST-2 |  | 277 |  | Galvanised Steel Flat Strip |  | 1125 |  | PVC Type ST-2 |  | 995 |  | FILLER |  | 1258 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 88 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 60800 | 60800 | [6 empty] | 60800 | [6 empty] | 60800 |  | 60800 | 18% | 10944 | 71744 | 270 | KMS | 19370880 |  | SP0400141 | CORRUGATED DISPATCH STEEL DRUM 2080 X 1000 X 1400 MM
ENQ-18775-25-26 |  | FA1300006 | 3 CORE X 70 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | STEEL | Copper Tape - 0.04 mm |  | 71 |  | Alumimium |  | 567 |  |  |  | 0 |  | Extruded Semiconductive |  | 188 |  | HT-XLPE |  | 474 |  |  |  | 0 |  | PVC Type ST-2 |  | 142 |  | Galvanised Steel Flat Strip |  | 750 |  | PVC Type ST-2 |  | 474 |  | FILLER |  | 533 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 15 | KMS |  |  | SP0400118 | CORRUGATED DISPATCH STEEL DRUM 1700 X 1000 X 1200
ENQ-18775-25-26 |  | FA1300010 | 3 CORE X 400 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | STEEL | Copper Tape - 0.04 mm |  | 159 |  | Alumimium |  | 3240 |  |  |  | 0 |  | Extruded Semiconductive |  | 427 |  | HT-XLPE |  | 2621 |  |  |  | 0 |  | PVC Type ST-2 |  | 405 |  | Galvanised Steel Flat Strip |  | 1600 |  | PVC Type ST-2 |  | 1560 |  | FILLER |  | 2672 |  |  |  | 0 |  |  |  | 162 |  |  |  | 0 |  |  |  | 52 |  |  |  | 129 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 182400 | 182400 | [6 empty] | 182400 | [6 empty] | 182400 |  | 182400 | 18% | 32832 | 215232 | 195 | KMS | 41970240 |  | SP0400105 | CORRUGATED DISPATCH STEEL DRUM 2500 X 1500 X 1400
ENQ-18775-25-26 |  | FA1300015 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | STEEL | Copper Tape - 0.04 mm |  | 146 |  | Alumimium |  | 2430 |  |  |  | 0 |  | Extruded Semiconductive(Stripable) |  | 386 |  | TR XLPE |  | 2385 |  | POLY TAPE |  | 0 |  | PVC Type ST-2 |  | 378 |  | Galvanised Steel Flat Strip |  | 1500 |  | FRLSH PVC Type ST-2 |  | 1460 |  | Polypropylene Filler |  | 2315 |  |  |  | 0 |  | Water swellable Tape |  | 0 |  | Semi conducting Water Swellable tape |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 182400 | 182400 | [6 empty] | 182400 | [6 empty] | 182400 |  | 182400 | 18% | 32832 | 215232 | 3 | KMS | 645696 |  | SP0400105 | CORRUGATED DISPATCH STEEL DRUM 2500 X 1500 X 1400
ENQ-18775-25-26 |  | FA1300052 | 3 CORE X 150 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | STEEL | Copper Tape - 0.04 mm |  | 88 |  | Alumimium |  | 1215 |  |  |  | 0 |  | Extruded Semiconductive |  | 246 |  | HT-XLPE |  | 620 |  |  |  | 0 |  | PVC Type ST-2 |  | 200 |  | Galvanised Steel Flat Strip |  | 900 |  | PVC Type ST-2 |  | 672 |  | FILLER |  | 809 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 53200 | 53200 | [6 empty] | 53200 | [6 empty] | 53200 |  | 53200 | 18% | 9576 | 62776 | 15 | KMS | 941640 |  | SP0400112 | CORRUGATED DISPATCH STEEL DRUM 2000 X 1000 X 1000 MM

## AUTO CALCULATION SHEET (2)
Noida Power Company Ltd.
TENDER SPECIFICATION NO () | NPCL/FY25-26/HTCAB/061
TENDER DESCRIPTION () | TENDER NOTIFICATION FOR 18 MONTHS RATE CONTRACT OF SUPPLY OF HT ABC CABLE & HT CABLES (LOT 3)
Last Date & Time of Submission () | 19.03.2026 up to 15:00 Hours OPENING ON 19.03.2026 up to 15:00 Hours
REVERSE AUCTION | Purchaser reserves the right to use Reverse Auction through SAP-SRM as an optional tool as an integral part of the entire tendering process. All techno-commercially qualified bidders shall participate in this event.
Price () | Prices are as per latest IEEMA PV Formula The prices shall variable be as per Latest IEEMA Price Variation formula as mentioned below; P = Po + AIF (AI – Alo) + XLFAL(CC-Cco)+ SMIF (SMIF-SMIF0) + FeF(FeF-FeF0) + CCFAI (PVCc - PVCco) All #0# denoted input prices in the formula (Al0, CC0, SMIF0, PVCc0, Fe0, etc.) shall be as per IEEMA Circulars of January 2026 (Published in February 2026). P = P₀ + Alph × n × (Al - Al₀) + Alm × (Al - Al₀) + CUFtph × n × (Cu - Cu₀)+ CCF1Alph × n × (CC - CC₀) + CCF2Alph × n × (PVCc - PVCc₀) + CCFAlm × (CC - CC₀) This price shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
Validity () | Bids shall remain valid for 120 days from the due date of submission of the Bid & subsequent corrigendum / amendment / extension of due date of submission.
Delivery Period () | 90 Days from the date of issuance of LOI / Order; however, firm delivery dates will be mentioned in the LOI / Order.
Payment Terms () | 15% Basic value of Release Order payment shall be paid as interest free advance against submission of Advance Bank Guarantee (ABG) of a nationalized/scheduled bank(s) located at State Capital/Delhi NCR, payable at Delhi/Noida / Corporate Guarantee as may be acceptable to the NPCL, for the equal amount valid up to the PO supply completion period plus 3 months claim period. In case of delay, the BG shall be extended suitably by the bidder. Bidder can request to submit Corporate guarantee in place of ABG, Same request can be considered with discretion of NPCL management only. 80% Payment shall be released on pro-rata basic within 45 days from the receipt of material at NPCL site with complete set of documents as mentioned in order. Your invoices complete in all respect along with all required documents should reach our office within 3 days. Any delay in submission of any of these documents will be to your account. It may please be noted that for payment purposes the date of receipt of documents will be considered on the basis of the date of receipt of last document, in case partial documents were received earlier. Balance 5% payment shall be released against submission of the Performance Bank Guarantee (PBG) of 5% of PO/Contract value valid up to defect liability period Plus 3 months towards the Claim Period.
Standard length () | 33kv 3 core = 500 meters ±2% 11kv 3 core = 500 meters ±2% 11kv 3cx120+150 = 500 meter +/-5%
Packing () | 33kv 3 core = Non-returnable MS steel drum 11kv 3 core = Non-returnable MS steel drum 11kv 3cx120+150 = Cable shall be supplied in wooden drum conforming to IS:10418
Technical Specification
[13 empty] | Conductor | [7 empty] | AL ALLOY |  | Insulation Screening (Metallic) | [7 empty] | Insulation Screening (Non-Metallic) |  | Insulation | [8 empty] | POLY TAPE | Inner Sheath | [8 empty] | Armouring | [10 empty] | Outer Sheath | [11 empty] | FILLER | GREASE | Water swellable Tape | Semi conducting Water Swellable tape | SEMICON TAPE | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Water Tight Compound | DRUM TYPE |  |  |  | DRUM COST PER KM | TOTAL RM COST | EXTRA CONSUMPTION | EXTRA CONSUMPTION VALUE | [11 empty] | $A$1
DOCKET NO. | BASE DATE | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER KM) | FREIGHT PER KM | PRICE INCLUDING FREIGHT (PER KM) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER KM) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST) | Alumimium | Alumimium ALLOY | Copper | AL-59 | AL-4 | AL-7 | Flexible Copper | Galvanized steel wire | Alumimium | Alumimium ALLOY | Coper tape - 0.1 mm | Copper Tape - 0.03 mm | Copper Tape - 0.035 mm | Copper Tape - 0.04 mm | Copper Tape - 0.045 mm | Copper Tape - 0.050 mm | Copper Tape - 0.060 mm | Copper Tape - 0.075 mm(DOUBLE) | Extruded semiconductive | Extruded Semiconductive(Stripable) | HT-XLPE | LT-XLPE | TR XLPE | Type A PVC | Type C PVC (HR) | Type A PVC-1.45 | Type A PVC-FR | Type A PVC-FRLS | Type A PVC-1.38 | POLY TAPE | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-1 | FRLSH PVC Type ST-2 | PVC Type ST-1 | PVC Type ST-1-PRESSURE EXTRUDED | PVC Type ST-2 | PVC COMPOUND 1.48 | PVC Type ST-2-PRESSURE EXTRUDED | ACSR CORE WIRE | ACSR DOG STEEL WIRE | Aluminium Flat Strip | Aluminium Round Wire | Alumimium Tape | Double Steel Tape | Galvanised Steel Flat Strip | Galvanised Steel Flat Strip (Double) | Galvanised Steel Flat Strip-B | Galvanised Steel Round Wire | Galvanised Steel Round Wire (Double) | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-1 | FRLSH PVC Type ST-2 | ZHFR | PE-ST-3 | PE-ST-7 | PVC Type ST-1 | PVC Type ST-2 | PVC COMPOUND 1.48 | PVC Type ST-2-PRESSURE EXTRUDED | UV & Track Resistant XLPE | FILLER | PP FILLER | Al Tape (15x0.10) | Semi conducting Water Swellable tape | NCWT | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Al Wire Screen | PROPOSE DRUM TYPE | DRUM CODE | DRUM SIZE (FxbXtx Ft) | PARTY STANDARD LENGTH (MTR) |  |  |  |  | MFG% | MFG VALUE | PROF% | PROFIT VALUE | 1ST EX-WORKS | Intt % | INTT VALUE | insp% | INSP VALUE | TTR Charges% | TTR Charges VALUE
[13 empty] | 335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 340 | 0 | 0 | 0 | 1276 | 0 | 0 | 0 | 0 | 0 | 170 | 125 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 96 | 0 | 0 | 0 | 0 | 0 | 27 | 76 | 491 | 369 | 310 | 0 | 0 | 282 | 340
ENQ-18775-25-26 | 2026-01-01 | FA1300052 | 3 CORE X 150 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 1207624.869 | 36000 | 1243624.869 | 18% | 223852.4764 | 1467477.3454 | 15 | KMS | 22012160.1813 | 1215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 0 | 0 |  | 246 | 620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 739 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 809 | 0 | 0 | 37 | 0 | 0 | 0 | 40 | 0 | STEEL | SP0400112 | CORRUGATED DISPATCH STEEL DRUM 2000 X 1000 X 1000 MM | 500 | 33000 | 876997 | 0% | 0 | 35% | 306948.95 | 0% | 0 | 1183945.95 | 2% | 23678.919 | 0% | 0 | 0% | 0
ENQ-18775-25-26 | 2026-01-01 | FA1300004 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 1958018.265 | 54000 | 2012018.265 | 18% | 362163.2877 | 2374181.5527 | 270 | KMS | 641029019.229 | 2430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 0 | 0 | 0 | 0 |  | 337 | 802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1258 | 0 | 0 | 46 | 0 | 0 | 0 | 44 | 0 | STEEL | SP0400141 | CORRUGATED DISPATCH STEEL DRUM 2080 X 1000 X 1400 MM | 500 | 38500 | 1421945 | 0% | 0 | 35% | 497680.75 | 0% | 0 | 1919625.75 | 2% | 38392.515 | 0% | 0 | 0% | 0
ENQ-18775-25-26 | 2026-01-01 | FA1300006 | 3 CORE X 70 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 785528.928 | 27000 | 812528.928 | 18% | 146255.207 | 958784.135 | 15 | KMS | 14381762.0256 | 567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 0 | 0 |  | 188 | 474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 708 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 533 | 0 | 0 | 31 | 0 | 0 | 0 | 35 | 0 | STEEL | SP0400118 | CORRUGATED DISPATCH STEEL DRUM 1700 X 1000 X 1200 | 500 | 19800 | 570464 | 0% | 0 | 35% | 199662.4 | 0% | 0 | 770126.4 | 2% | 15402.528 | 0% | 0 | 0% | 0
ENQ-18775-25-26 | 2026-01-01 | FA1300010 | 3 CORE X 400 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 3371284.314 | 90000 | 3461284.314 | 18% | 623031.1765 | 4084315.4905 | 195 | KMS | 796441520.6514 | 3240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 181 | 0 | 0 | 0 | 0 |  | 427 |  | 0 | 2621 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1638 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 1718 | 0 | 104 | 58 | 0 | 0 | 69 | 0 | STEEL | SP0400105 | CORRUGATED DISPATCH STEEL DRUM 2500 X 1500 X 1400 | 500 | 44000 | 2448282 | 0% | 0 | 35% | 856898.7 | 0% | 0 | 3305180.7 | 2% | 66103.614 | 0% | 0 | 0% | 0
ENQ-18775-25-26 | 2026-01-01 | FA1300015 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 2833568.568 | 90000 | 2923568.568 | 18% | 526242.3422 | 3449810.9102 | 3 | KMS | 10349432.7307 | 2430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168 | 0 | 0 | 0 | 0 | 0 | 386 | 0 | 0 | 2385 | 0 | 0 | 0 | 0 | 0 | 0 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1497 | 0 | 93 | 38 | 0 | 0 | 58 | 0 | STEEL | SP0400105 | CORRUGATED DISPATCH STEEL DRUM 2500 X 1500 X 1400 | 500 | 44000 | 2057784 | 0% | 0 | 35% | 720224.4 | 0% | 0 | 2778008.4 | 2% | 55560.168 | 0% | 0 | 0% | 0
ENQ-18775-25-26 | 2026-01-01 | FA0400106 | 3 CORE X 120 SQ MM + 1 CORE X 125 SQ MM (AB CABLES) (INSULATED) - 11 KV | 1439767.791 | 36000 | 1475767.791 | 18% | 265638.2024 | 1741405.9934 | 45 | KMS | 78363269.7021 | 975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 276 | 584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 680 | 0 |  | 0 | 0 | 0 | 0 | 0 | 18 | 75 | 0 | 0 | 0 | 0 | 992 | STEEL | SP0400123 | DRUM - 2000 X 1000 X 1200 | 500 | 33000 | 1045583 | 0% | 0 | 35% | 365954.05 | 0% | 0 | 1411537.05 | 2% | 28230.741 | 0% | 0 | 0% | 0
1562577164.5201
|  |  |  | Order Quantity | Stnd Length | Truck type | Fare of one truck | No of Drum in one truck | Total length in one Truck | No of Truck | Total Freight | Freight per KM | [9 empty] | CABLE WEIGHT KG/KM |  |  |  | DRUM WEIGHT | [5 empty] | CABLE+DRUM WEIGHT | TRAILOR
|  |  | 3 CORE X 150 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 15 | 0.5 | 25 MT TRAILOR | 135000 | 8 | 4 | 4 | 540000 | 36000 | SP0400112 | [8 empty] | 5024 |  |  |  | 220 | [5 empty] | 2732 | 21856
|  |  | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 270 | 0.5 | 25 MT TRAILOR | 135000 | 5 | 2.5 | 108 | 14580000 | 54000 | SP0400141 | [8 empty] | 7637 |  |  |  | 350 | [5 empty] | 4168.5 | 20842.5
|  |  | 3 CORE X 70 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 15 | 0.5 | 25 MT TRAILOR | 135000 | 10 | 5 | 3 | 405000 | 27000 | SP0400118 | [8 empty] | 3672 |  |  |  | 200 | [5 empty] | 2036 | 20360
|  |  | 3 CORE X 400 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 195 | 0.5 | 25 MT TRAILOR | 135000 | 3 | 1.5 | 130 | 17550000 | 90000 | SP0400105 | [8 empty] | 12276 |  |  |  | 470 | [5 empty] | 6608 | 19824
|  |  | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 3 | 0.5 | 25 MT TRAILOR | 135000 | 3 | 1.5 | 2 | 270000 | 90000 | SP0400105 | [8 empty] | 10666 |  |  |  | 470 | [5 empty] | 5803 | 17409
|  |  | 3 CORE X 120 SQ MM + 1 CORE X 125 SQ MM (AB CABLES) (INSULATED) - 11 KV | 45 | 0.5 | 25 MT TRAILOR | 135000 | 8 | 4 | 12 | 1620000 | 36000 | SP0400123 | [8 empty] | 4085 |  |  |  | 280 | [5 empty] | 2322.5 | 18580
| NOTE:- | Please consider the rate of compounds from below mentioned makes :
Aluminium conductor - BALCO / HINDALCO / NALCO / VEDANTA
Semiconducting compound - DOW / BOREALIS / HANWHA
XLPE compound- DOW / BOREALIS / HANWHA
Water-swellable semiconducting tape - LANTOR / GECA / MIRACLE / SCAPA / SNEHAM INTERNATIONAL
Core identification strips - AVSL INDUSTRIES / YASH POLYMERS / VIJOY POLYMERS
PVC fillers- VIJOY POLYMERS / YASH POLYMERS / AVSL INDUSTRIES
Copper Tape - AGGARWAL METAL/INDIAN SMELTING
PVC compound - SHAKUN / KALPANA / KLJ / DCM SHRIRAM
Galvanized steel armour - TATA STEEL / JINDAL STEEL / SAIL / JSW/BALAJI
DOCKET NO. | BASE DATE | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER MTR | FREIGHT PER MTR | PRICE INCLUDING FREIGHT (PER MTR) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER MTR) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST)
ENQ-18775-25-26 | 2026-01-01 | FA1300052 | 3 CORE X 150 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 1207.63 | 36 | 1243.63 | 18% | 223.85 | 1467.48 | 15000 | MTR | 22012200
ENQ-18775-25-26 | 2026-01-01 | FA1300004 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 1958.02 | 54 | 2012.02 | 18% | 362.16 | 2374.18 | 270000 | MTR | 641028600
ENQ-18775-25-26 | 2026-01-01 | FA1300006 | 3 CORE X 70 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV | 785.53 | 27 | 812.53 | 18% | 146.26 | 958.79 | 15000 | MTR | 14381850
ENQ-18775-25-26 | 2026-01-01 | FA1300010 | 3 CORE X 400 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 3371.29 | 90 | 3461.29 | 18% | 623.03 | 4084.32 | 195000 | MTR | 796442400
ENQ-18775-25-26 | 2026-01-01 | FA1300015 | 3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV | 2833.57 | 90 | 2923.57 | 18% | 526.24 | 3449.81 | 3000 | MTR | 10349430
ENQ-18775-25-26 | 2026-01-01 | FA0400106 | 3 CORE X 120 SQ MM + 1 CORE X 125 SQ MM (AB CABLES) (INSULATED) - 11 KV | 1439.77 | 36 | 1475.77 | 18% | 265.64 | 1741.41 | 45000 | MTR | 78363450
1562577930
765.4799
Note on I29: Author: Take from BI BOM Master

## PV AUTO CALCULATION-HTPC
Base Date | 2026-01-01
PV FORMULA
The prices shall variable be as per Latest IEEMA Price Variation formula as mentioned below; P = Po + AIF (AI – Alo) + XLFAL(CC-Cco)+ SMIF (SMIF-SMIF0) + FeF(FeF-FeF0) + CCFAI (PVCc - PVCco) All #0# denoted input prices in the formula (Al0, CC0, SMIF0, PVCc0, Fe0, etc.) shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
VALUE ADDITION CALCULATION
Item | Calculation part | Date of Inspection | Applicable Date | [5 empty] | BASE DATE | [5 empty] | FACTORS | [6 empty] | Ex-Work Po | PVC of al | PVC of Cu | PVC of XLPE | PVC OF PVC | PVC OF FE | PVC OF CU TAPE | PV/PKM | Billing Price/PKM
|  |  | Date | Al | Cu | Cc | PVCc | Fe | Date | Alo | Cuo | Cco | PVCco | Feo | [16 empty] | Alumimium | Alumimium ALLOY | Copper Tape - 0.04 mm | Extruded Semiconductive(Stripable) | HT-XLPE | TR XLPE | POLY TAPE | PVC Type ST-2 | Galvanised Steel Flat Strip | FRLSH PVC Type ST-2 | PE-ST-7 | FILLER | PP FILLER | Al Tape (15x0.10) | Semi conducting Water Swellable tape | NCWT | RUBBERIZED COTTON TAPE | Al Wire Screen | RMC | Drum | RMC+Drum | VA | Groos VA% | Mfg % | Int % | Ins% | Net VA
[15 empty] | Alf | Cu | XLFAL | CCFAI | CCFCu | FeF | Smif | [9 empty] | 361 | 366 | 1394 | 210 | 158 | 240 | 130 | 83 | 76 | 98 | 132 | 30 | 76 | 559 | 370 | 300 | 280 | 366
[31 empty] | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km
3 CORE X 150 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV |  | PROVISIONAL | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 82250 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 80250 | 1.279 |  | 0.89 | 2.061 |  | 1.055 | 0.088 | 1207630 | 22638.7093 | 0 | 3027.78 | 10305 | 2110 | -231.2578 | 37850.2314 | 1245480.2314 | 1215 | 0 | 99 | 246 | 620 | 0 | 37 | 210 | 972 | 739 | 0 | 809 | 0 | 0 | 37 | 0 | 40 | 0 | 943935 | 33000 | 976935 | 268545.2314 | 27.49 | 0 | 2 | 0 | 25.49
3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV |  | PROVISIONAL | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 82250 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 80250 | 2.635 |  | 1.167 | 3.161 |  | 1.318 | 0.11 | 1958020 | 46640.3432 | 0 | 3970.134 | 15805 | 2636 | -289.0723 | 68762.4049 | 2026782.4049 | 2430 | 0 | 123 | 337 | 802 | 0 | 46 | 291 | 1215 | 1045 | 0 | 1258 | 0 | 0 | 46 | 0 | 44 | 0 | 1538141 | 38500 | 1576641 | 450141.4049 | 28.55 | 0 | 2 | 0 | 26.55
3 CORE X 70 SQ. MM. AL/ARM - STRIP (XLPE) - 11 KV |  | PROVISIONAL | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 82250 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 80250 | 0.593 |  | 0.679 | 1.396 |  | 0.849 | 0.071 | 785530 | 10496.2898 | 0 | 2309.958 | 6980 | 1698 | -186.583 | 21297.6647 | 806827.6647 | 567 | 0 | 81 | 188 | 474 | 0 | 30 | 167 | 858 | 708 | 0 | 533 | 0 | 0 | 31 | 0 | 35 | 0 | 621586 | 19800 | 641386 | 165441.6647 | 25.79 | 0 | 2 | 0 | 23.79
3 CORE X 400 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV |  | PROVISIONAL | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 82250 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 80250 | 3.374 |  | 3.229 | 5.736 |  | 1.876 | 0.164 | 3371290 | 59720.8797 | 0 | 10985.058 | 28680 | 3752 | -430.9805 | 102706.9572 | 3473996.9572 | 3240 | 0 | 181 | 427 | 0 | 2621 | 66 | 426 | 1728 | 1638 | 0 | 0 | 1718 | 0 | 104 | 58 | 69 | 0 | 2682222 | 44000 | 2726222 | 747774.9572 | 27.43 | 0 | 2 | 0 | 25.43
3 CORE X 300 SQ. MM. AL/ARM - STRIP (XLPE) - 33 KV |  | PROVISIONAL | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 82250 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 80250 | 2.635 |  | 2.919 | 5.029 |  | 1.758 | 0.15 | 2833570 | 46640.3432 | 0 | 9930.438 | 25145 | 3516 | -394.1895 | 84837.5917 | 2918407.5917 | 2430 | 0 | 168 | 386 | 0 | 2385 | 61 | 397 | 1620 | 1533 | 0 | 0 | 1497 | 0 | 93 | 38 | 58 | 0 | 2254939 | 44000 | 2298939 | 619468.5917 | 26.95 | 0 | 2 | 0 | 24.95

## PV AUTO CALCULATION-HTABC
Base Date | 2026-01-01
PV Terms (IEEMA CIRCULAR)
PV FORMULA (IEEMA)
The prices shall variable be as per Latest IEEMA Price Variation formula as mentioned below; P = P₀ + Alph × n × (Al - Al₀) + Alm × (Al - Al₀) + CUFtph × n × (Cu - Cu₀)+ CCF1Alph × n × (CC - CC₀) + CCF2Alph × n × (PVCc - PVCc₀) + CCFAlm × (CC - CC₀) This price shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
Item | Calculation part | Date of Inspection | Applicable Date |  |  |  |  | BASE DATE |  |  |  |  | FACTORS | [9 empty] | Ex-Work Po | PVC of Al | PVC of AlM | PVC of Alsl | PVC of Cuftph | PVC of CCFAIph | PVC of CCF1AIph | PVC of CCFAIm | PVC of CCF2AIph | PVC of CCFAIsl | PV/PKM | Billing Price/PKM | VALUE ADDITION CALCULATION WITH RESPECT TO PERCENTAGE
|  |  | Date | Al | Cu | CC | PVCC | Date | Alo | Cuo | Cco | PVCco
[13 empty] | n | Alph | Alm | Alsl | CuFtph | CCFAIph | CCF1AIph | CCFAIm | CCF2AIph | CCFAIsl | [12 empty] | Alumimium | Alumimium ALLOY | Copper Tape - 0.04 mm | Extruded Semiconductive(Stripable) | HT-XLPE | TR XLPE | POLY TAPE | PVC Type ST-2 | Galvanised Steel Flat Strip | FRLSH PVC Type ST-2 | PE-ST-7 | FILLER | PP FILLER | Al Tape (15x0.10) | Semi conducting Water Swellable tape | NCWT | RUBBERIZED COTTON TAPE | Al Wire Screen | RMC | Drum | RMC+Drum | VA | Groos VA% | Mfg % | Int % | Ins% | Net VA %
[35 empty] | 361 | 366 | 1394 | 210 | 158 | 240 | 130 | 83 | 76 | 98 | 132 | 30 | 76 | 559 | 370 | 300 | 280 | 366
3 CORE X 120 SQ MM + 1 CORE X 125 SQ MM (AB CABLES) (INSULATED) - 11 KV |  |  | 2026-03-17 | 352322.32 | 1273267.07 | 198367 | 158825 | 2026-01-01 | 334622 | 1275895 | 194965 | 153825 | 3 | 0.346 | 0.36042 |  | 0.036 |  | 0.241 | 0.25104 | 0.172 |  | 1439770 | 18372.9322 | 6379.4903 | 0 | -283.8164 | 0 | 2459.646 | 854.0437 | 2580 | 0 | 30362.2958 | 1470132.2958 | 975 | 350 | 0 | 276 | 584 | 0 | 0 | 135 | 0 | 0 | 680 | 0 | 0 | 18 | 75 | 0 | 0 | 992 | 1132156 | 33000 | 1165156 | 304976.2958 | 26.17% |  | 2% |  | 24.17%

## terms (hidden)
The quoted prices are on Firm inclusive of packing and forwading but exclusive of GST Statutory levies.
The quoted prices are on VARIABLE basis with PV base Date: DD/MM/YYYY as per "IEEMA", inclusive of packing and forwading but exclusive of GST Statutory levies.
The above prices are quoted on Ex-works basis, where freight will be charged extra.
The above prices are quoted on FOR Destination basis, where freight is included, refer Price offer.
The above prices are quoted on Ex-works+Freight basis.
20% Advance and Balance against PI (Proforma Invoice) prior to dispatch
100% against "90 days" LC, where 90 days usance interest will be borne by LPIPL
100% against "120 days" LC, where 120 days usance interest will be borne by LPIPL
100% against "45 days" LC, where 45 days usance interest will be borne by LPIPL
100% against "60 days" LC, where 60 days usance interest will be borne by LPIPL
100% against "30 days" LC, where 30 days usance interest will be borne by LPIPL
100% against 60 days PDC from the date of MRC/MRN
"45 days" Open Credit
"30 days" Open Credit
100% against "90 days" Bill Discounting/Bill of Exchange/VFS
100% against "179 days" Bill Discounting/Bill of Exchange/VFS
25% advance, balance 90 days Credit.
90 days VFS.
"12 months" from the date of commissioning, or "18 months" from the date of Supply, whichever is earlier.
"18 months" from the date of commissioning, or "36 months" from the date of Supply, whichever is earlier.
Within "4-6 weeks" from the date of Receipt of your technically and commercially clear order along with manufacturing clearance, drum schedule, approved GTP/Drawing.
Within "6-8 weeks" from the date of Receipt of your technically and commercially clear order along with manufacturing clearance, drum schedule, approved GTP/Drawing.
Negotiable