## Sheet1 (hidden)
DOCKET NO. | Base Date | ITEM CODE | PROPOSE ERP ITEM NAME | PROPOSE DRUM TYPE | Insulation Screening (Metallic) | RM RATE (Insulation Screening (Metallic)) | Weight (Insulation Screening (Metallic)) | COST(Insulation Screening (Metallic)) | Conductor | RM RATE(Conductor) | WEIGHT(Conductor) | COST(Conductor) | AL ALLOY | RM RATE(Alu Alloy) | WEIGHT(Alu Alloy) | COST(Alu Alloy) | Insulation Screening (Non-Metallic) | RM RATE(Insulation Screening (Non-Metallic)) | WEIGHT(Insulation Screening (Non-Metallic)) | COST(Insulation Screening (Non-Metallic)) | Insulation | RM RATE(Insulation) | WEIGHT(Insulation) | COST(Insulation) | POLY TAPE | RM RATE (Poly Tape) | WEIGHT (Poly Tape) | COST(Poly Tape) | Inner Sheath | RM RATE(Inner Sheath) | WEIGHT(Inner Sheath) | COST(Inner Sheath) | Armouring | RM RATE(Armouring) | WEIGHT(Armouring) | COST(Armouring) | Outer Sheath | RM RATE(Outer Sheath) | WEIGHT(Outer Sheath) | COST(Outer Sheath) | FILLER | RM RATE(Filler) | WEIGHT(Filler) | COST(Filler) | GREASE | RM RATE(Grease) | WEIGHT(Grease) | COST(Grease) | Water swellable Tape | RM RATE(Water swellable Tape) | WEIGHT(Water swellable Tape) | COST(Water swellable Tape) | Semi conducting Water Swellable tape | RM RATE(Semi conducting Water Swellable tape) | WEIGHT(Semi conducting Water Swellable tape) | COST(Semi conducting Water Swellable tape) | SEMICON TAPE | RM RATE(SEMICON TAPE) | WEIGHT(SEMICON TAPE) | COST(SEMICON TAPE) | GLASS FIBER TAPE | RM RATE(GLASS FIBER TAPE) | WEIGHT(GLASS FIBER TAPE) | COST(GLASS FIBER TAPE) | COPPER WIRE 0.8 MM | RM RATE(COPPER WIRE 0.8 MM) | WEIGHT(COPPER WIRE 0.8 MM) | COST(COPPER WIRE 0.8 MM) | RUBBERIZED COTTON TAPE | RM RATE(RUBBERIZED COTTON TAPE) | WEIGHT(RUBBERIZED COTTON TAPE) | COST(RUBBERIZED COTTON TAPE) | Water Tight Compound | RM RATE(Water Tight Compound) | WEIGHT(Water Tight Compound) | COST(Water Tight Compound) | DRUM COST PER KM | TOTAL RM COST | FIRM % | FIRM VALUE | MFG% | MFG VALUE | PROF% | PROFIT VALUE | 1ST EX-WORKS | Intt % | INTT VALUE | insp% | INSP VALUE | EX-WORKS (PER KM) | FREIGHT PER KM | PRICE INCLUDING FREIGHT (PER KM) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER KM) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST) | DRUM CODE | DRUM SIZE (FxbXtx Ft) | PARTY STANDARD LENGTH (MTR)
ENQ-11204-22-23 | 2023-09-19 | FA0200049 | 9 CORE X 2.5 SQ. MM. CU/ARD - WIRE (PVC) | WOOD |  |  |  |  | Tinned Copper | 849 | 198 | 148302 |  |  | 0 |  |  |  | 0 |  | Type C PVC (HR) | 104 | 117 | 8605.35 | POLY TAPE | 122.4 | 4 | 489.6 | FRLSH PVC Type ST-2 | 107 | 33 | 1948.98 | Galvanised Steel Round Wire | 89.02 | 388 | 34539.76 | FRLSH PVC Type ST-2 | 107 | 140 | 8268.4 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | 4610.79 | 206764.88 | [6 empty] | 206764.88 |  |  |  |  | 206764.88 | 6538.46 | 213303.34 | 18% | 38394.6 | 251697.94 | 2.6 | KMS | 654415 | MD0100005 | DRUM - 36 X 14 X 23 X 2
ENQ-11204-22-23 | 2023-09-19 | FA0200068 | 16 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | WOOD |  |  |  |  | Tinned Copper | 849 | 212.8 | 159387.2 |  |  | 0 |  |  |  | 0 |  | Type C PVC (HR) | 104 | 152 | 11179.6 | POLY TAPE | 122.4 | 5 | 612 | FRLSH PVC Type ST-2 | 107 | 38 | 2244.28 | Galvanised Steel Round Wire | 89.02 | 509 | 45311.18 | FRLSH PVC Type ST-2 | 107 | 169 | 9981.14 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | 5151.48 | 233866.88 | [6 empty] | 233866.88 |  |  |  |  | 233866.88 | 6071.43 | 239938.31 | 18% | 43188.9 | 283127.2 | 2.8 | KMS | 792756 | MD0100066 | DRUM - 40 X 15 X 23 X 2
ENQ-11204-22-23 | 2023-09-19 | FA0200015 | 5 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | WOOD |  |  |  |  | Tinned Copper | 849 | 67 | 50183 |  |  | 0 |  |  |  | 0 |  | Type C PVC (HR) | 104 | 48 | 3530.4 | POLY TAPE | 122.4 | 4 | 489.6 | FRLSH PVC Type ST-2 | 107 | 24 | 1417.44 | Galvanised Steel Round Wire | 89.02 | 276 | 24569.52 | FRLSH PVC Type ST-2 | 107 | 103 | 6083.18 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | 3850.93 | 90124.07 | [6 empty] | 90124.07 |  |  |  |  | 90124.07 | 2000 | 92124.07 | 18% | 16582.33 | 108706.4 | 8.5 | KMS | 924004 | MD0100003 | DRUM - 28 X 14 X 23 X 2

## AUTO CALCULATION SHEET (2)
THE WEST BENGAL POWER DEVELOPMENT CORPORATION LIMITED
TENDER SPECIFICATION NO () | WBPDCL/KTPS/NIT/E-2662/23-24.
TENDER DESCRIPTION () | Procurement of 1.1 KV, copper armoured PVC control cables for KTPS through CAPEX-2023-24.
Last Date & Time of Submission () | 25.09.2023 up to 15.00 Hrs.
REVERSE AUCTION | Not Mention.
Price () | The quoted prices shall remain firm till completion of the contract. Firm, F.O.R.at Kolaghat Thermal Power Station.
Validity () | Bid shall remain open for acceptance by the Owner for a period of 120 (One hundred twenty) days, from the date of opening of the Bid. During this period the Bidder shall not withdraw or amend his Bid.
Delivery Period () | All materials should be ready within the next 06 months for factory acceptance tests. FAT call should be raised at least 21 days in advance and local transit should be arranged by the vendor. The purchaser may ask for remote FAT and the vendor must have the necessary infrastructure for doing so. Complete delivery should be done within 01 month.
Payment Terms () | 100% payment will be made within 45 days from the date of submission of bill in triplicate with receipted challan, signed GRN and PBG (10 % of Basic value of PO ) to Sr.Manager (Purchase),KTPS. PBG shall remain valid for 24 months from the date of last material receipt at KTPS with additional claim period of 03 months.
Standard length () | 9CX2.5MM2 - Drum length of 1300+1300 meter. 16CX1.5 SQMM - Drum length of 1500+1300 meter. 5CX1.5 MM2 - Drum length of 1300+1600+1600+1300+900+900+900 meter.
Packing () | The Cables shall be wound on a drum (Ref. IS: 10418-1972 and its amendments) of suitable size and packed. The ends of cable shall be sealed by means of non-hygroscopic sealing material. The Cables shall be packed in non-returnable wooden drums. The wooden drums should be bearing distinguishing number with following information duly stenciled on the outer side of one flange.
Technical Specification
[13 empty] | Conductor |  |  |  |  | AL ALLOY |  | Insulation Screening (Metallic) | [7 empty] | Insulation Screening (Non-Metallic) |  | Insulation | [5 empty] | POLY TAPE | Inner Sheath | [6 empty] | Armouring | [9 empty] | Outer Sheath | [9 empty] | FILLER | GREASE | Water swellable Tape | Semi conducting Water Swellable tape | SEMICON TAPE | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Water Tight Compound |  |  |  |  | DRUM COST PER KM | TOTAL RM COST | EXTRA CONSUMPTION | EXTRA CONSUMPTION VALUE
DOCKET NO. | Base Date | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER KM) | FREIGHT PER KM | PRICE INCLUDING FREIGHT (PER KM) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER KM) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST) | Alumimium | Alumimium ALLOY | Copper | Tinned Copper | Galvanized steel wire | Alumimium | Alumimium ALLOY | Coper tape - 0.1 mm | Copper Tape - 0.03 mm | Copper Tape - 0.035 mm | Copper Tape - 0.04 mm | Copper Tape - 0.045 mm | Copper Tape - 0.050 mm | Copper Tape - 0.060 mm | Copper Tape - 0.075 mm(DOUBLE) | Extruded semiconductive | Extruded Semiconductive(Stripable) | HT-XLPE | LT-XLPE | TR XLPE | Type A PVC | Type C PVC (HR) | XLPE | POLY TAPE | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-2 | PVC Type ST-1 | PVC Type ST-1-PRESSURE EXTRUDED | PVC Type ST-2 | PVC Type ST-2-PRESSURE EXTRUDED | ACSR CORE WIRE | ACSR DOG STEEL WIRE | Aluminium Flat Strip | Aluminium Round Wire | Double Steel Tape | Galvanised Steel Flat Strip | Galvanised Steel Flat Strip (Double) | Galvanised Steel Flat Strip-B | Galvanised Steel Round Wire | Galvanised Steel Round Wire (Double) | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-1 | FRLSH PVC Type ST-2 | PE, ST-3 | PE, ST-7 | PVC Type ST-1 | PVC Type ST-2 | PVC Type ST-2-PRESSURE EXTRUDED | UV & Track Resistant XLPE | FILLER | Grease | Water swellable Tape | Semi conducting Water Swellable tape | SEMICON TAPE | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Water Tight Compound | PROPOSE DRUM TYPE | DRUM CODE | DRUM SIZE (FxbXtx Ft) | PARTY STANDARD LENGTH (MTR) |  |  |  |  | MFG% | MFG VALUE | PROF% | PROFIT VALUE | 1ST EX-WORKS | Intt % | INTT VALUE | insp% | INSP VALUE
[13 empty] | 0 | 0 | 0 | 860 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 122 | 0 | 0 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ENQ-11204-22-23 | 2023-09-19 | FA0200049 | 9 CORE X 2.5 SQ. MM. CU/ARD - WIRE (PVC) | 330086.6235 | 6538.47 | 336625.0935 | 18% | 60592.5168 | 397217.6103 | 2.6 | KMS | 1032765.7869 | 0 | 0 | 0 | 198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 117 | 0 | 4 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 388 | 0 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WOOD | MD0100135 | DRUM - 48 X 12 X 38 X 2.25 | 1300 | 3484 | 237387 | 0% | 0 | 35% | 83085.45 | 0% | 0 | 320472.45 | 2% | 6409.449 | 1% | 3204.7245
ENQ-11204-22-23 | 2023-09-19 | FA0200068 | 16 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 372481.578 | 6071.43 | 378553.008 | 18% | 68139.5414 | 446692.5494 | 2.8 | KMS | 1250739.1384 | 0 | 0 | 0 | 212.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152 | 0 | 5 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 509 | 0 | 0 | 0 | 0 | 169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WOOD | MD0100135 | DRUM - 48 X 12 X 38 X 2.25 | 1300 | 3484 | 267876 | 0% | 0 | 35% | 93756.6 | 0% | 0 | 361632.6 | 2% | 7232.652 | 1% | 3616.326
ENQ-11204-22-23 | 2023-09-19 | FA0200015 | 5 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 144217.098 | 2000 | 146217.098 | 18% | 26319.0776 | 172536.1756 | 8.5 | KMS | 1466557.4929 | 0 | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 4 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 276 | 0 | 0 | 0 | 0 | 118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WOOD | MD0100005 | DRUM - 36 X 14 X 23 X 2 | 900 | 2562 | 103716 | 0% | 0 | 35% | 36300.6 | 0% | 0 | 140016.6 | 2% | 2800.332 | 1% | 1400.166
|  |  |  | Order Quantity | Stnd Length | Truck type | Fare of one truck | No of Drum in one truck | Total length in one Truck | No of Truck | Total Freight | Freight per KM
|  |  | 9 CORE X 2.5 SQ. MM. CU/ARD - WIRE (PVC) | 2.6 | 1.3 | 16 MT | 17000 | 10 | 13 | 1 | 17000 | 6538.4615
|  |  | 16 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 2.8 | 1.3 | 16 MT | 17000 | 10 | 13 | 1 | 17000 | 6071.4286
|  |  | 5 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 8.5 | 0.9 | 16 MT | 17000 | 30 | 27 | 1 | 17000 | 2000
DOCKET NO. | Base Date | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER MTR) | FREIGHT PER MTR | PRICE INCLUDING FREIGHT (PER MTR) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER MTR) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST)
ENQ-11204-22-23 | 2023-09-19 | FA0200049 | 9 CORE X 2.5 SQ. MM. CU/ARD - WIRE (PVC) | 330.09 | 6.54 | 336.63 | 18% | 60.5934 | 397.2234 | 2600 | MTR | 1032780.84
ENQ-11204-22-23 | 2023-09-19 | FA0200068 | 16 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 372.49 | 6.08 | 378.57 | 18% | 68.1426 | 446.7126 | 2800 | MTR | 1250795.28
ENQ-11204-22-23 | 2023-09-19 | FA0200015 | 5 CORE X 1.5 SQ. MM. CU/ARD - WIRE (PVC) | 144.22 | 2 | 146.22 | 18% | 26.3196 | 172.5396 | 8500 | MTR | 1466586.6
Note on I23: Author: Take from BI BOM Master