## Sheet1 (hidden)
DOCKET NO. | Base Date | ITEM CODE | PROPOSE ERP ITEM NAME | Propose Drum Type | Insulation Screening(Metallic) | RM Rate(Insulation Screening(Metallic)) | Weight (Insulation Screening (Metallic)) | Cost Insulation Screening(Metallic) | Conductor | RM Rate(Conductor) | Weight(Conductor) | Cost(Conductor) | AL ALLOY | RM Rate(AL Alloy) | Weight(Al Alloy) | Cost(AL Alloy) | Insulation Screening(Non-Metallic) | RM Rate(Insulation Screening(Non-Metallic)) | Weight(Insulation Screening(Non-Metallic) | Cost(Insulation Screening(Non-Metallic) | Insulation | RM Rate(Insulation) | Weight(Insulation) | Cost(Insulation) | Poly Tape | RM Rate(Poly Tape) | Weight(Poly Tape) | Cost(Poly Tape) | Inner Sheath | RM Rate(Inner Sheath) | Weight(Inner Sheath) | Cost(Inner Sheath) | Armouring | RM Rate(Armouring) | Weight(Armouring) | Cost(Armouring) | Outer Sheath | RM Rate(Outer Sheath) | Weight(Outer Sheath) | Cost(Outer Sheath) | Filler | RM Rate(Filler) | Weight(Filler) | Cost(Filler) | Grease | RM Rate(Grease) | Weight(Grease) | Cost(Grease) | Water Swellable Tape | RM Rate(Water Swellable Tape) | Weight(Water Swellable Tape) | Cost(Water Swellable Tape) | Semi Conducting Water Swellable Tape | RM Rate(Semi Conducting Water Swellable Tape) | Weight(Semi Conducting Water Swellable Tape) | Cost(Semi Conducting Water Swellable Tape) | Semicon Tape | RM Rate(Semicon Tape) | Weight(Semicon Tape) | Cost(Semicon Tape) | Glass Fiber Tape | RM Rate(Glass Fiber Tape) | Weight(Glass Fiber Tape) | Cost(Glass Fiber Tape) | Copper Wire 0.8MM | RM Rate(Copper Wire 0.8MM) | Weight(Copper Wire 0.8MM) | Cost(Copper Wire 0.8MM) | Rubberized Cotton Tape | RM Rate(Rubberized Cotton Tape) | Weight(Rubberized Cotton Tape) | Cost(Rubberized Cotton Tape) | Water Tight Compound | RM Rate(Water Tight Compound) | Weight(Water Tight Compound) | Cost(Water Tight Compound) | Drum Cost Per KM | Total RM Cost | FIRM % | Firm Value | MFG% | MFG Value | PROF% | Profit Value | 1st EX-Works | Intt % | Intt Value | insp% | Insp Value | TTR CHARGES% | TTR Value | EX-Works Per KM | Freight Per KM | Price Including Freight Per KM | GST % | GST Value | Price Including GST & Freight Per KM | QTY | Unit | Total Price Of Full QTY(Including Freight&GST) | PARTY LENGTH (IF STANDER LENGTH NOT MATCH WITH PAR | DRUM CODE | DRUM SIZE (FxbXtx Ft)
ENQ-18774-25-26 |  | FA0700001 | 1 CORE X 120 SQ. MM. AL/ARD (XLPE) | STEEL |  |  | 0 |  | Alumimium |  | 324 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 75 |  |  |  | 0 |  |  |  | 0 |  | Aluminium Round Wire |  | 157 |  | FRLSH PVC Type ST-2 |  | 165 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 10 | KMS
ENQ-18774-25-26 |  | FA0700001 | 1 CORE X 120 SQ. MM. AL/ARD (XLPE) | STEEL |  |  | 0 |  | Alumimium |  | 324 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 75 |  |  |  | 0 |  |  |  | 0 |  | Aluminium Round Wire |  | 157 |  | FRLSH PVC Type ST-2 |  | 165 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 14 | KMS |  | 500
ENQ-18774-25-26 |  | FA0700002 | 1 CORE X 630 SQ. MM. AL/ARD (XLPE) | STEEL |  |  | 0 |  | Alumimium |  | 1701 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 295 |  |  |  | 0 |  |  |  | 0 |  | Aluminium Round Wire |  | 431 |  | FRLSH PVC Type ST-2 |  | 443 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 10 | KMS |  | 500
ENQ-18774-25-26 |  | FA0700008 | 1 CORE X 300 SQ. MM. AL/ARD. (XLPE) | STEEL |  |  | 0 |  | Alumimium |  | 810 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 154 |  |  |  | 0 |  |  |  | 0 |  | Aluminium Round Wire |  | 238 |  | FRLSH PVC Type ST-2 |  | 259 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 12 | KMS |  | 500
ENQ-18774-25-26 |  | FA0900036 | 4 CORE X 50 SQ. MM. ALU/ARD - STRIP (XLPE) | WOOD |  |  | 0 |  | Alumimium |  | 540 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 128 |  |  |  | 0 |  | PVC Type ST-2 |  | 58 |  | Galvanised Steel Flat Strip |  | 425 |  | PVC Type ST-2 |  | 226 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 8874 | 8874 | [6 empty] | 8874 | [6 empty] | 8874 |  | 8874 | 18% | 1597.32 | 10471.32 | 140 | KMS | 1465985 | 500 | MD0100015 | DRUM - 48 X 20 X 28 X 2.25 - RDSO
ENQ-18774-25-26 |  | FA1100012 | 4 CORE X 95 SQ. MM. AL/ARD - STRIP (XLPE) | WOOD |  |  | 0 |  | Alumimium |  | 1026 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 187 |  |  |  | 0 |  | PVC Type ST-2 |  | 93 |  | Galvanised Steel Flat Strip |  | 611 |  | PVC Type ST-2 |  | 348 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 |  | 15824 | 15824 | [6 empty] | 15824 | [6 empty] | 15824 |  | 15824 | 18% | 2848.32 | 18672.32 | 600 | KMS | 11203392 | 500 | MD0100061 | DRUM - 56 X 24 X 32 X 3
ENQ-18774-25-26 |  | FA1100025 | 4 CORE X 300 SQ. MM. AL/ARD - STRIP (XLPE) | STEEL |  |  | 0 |  | Alumimium |  | 3240 |  |  |  | 0 |  |  |  | 0 |  | LT-XLPE |  | 518 |  |  |  | 0 |  | PVC Type ST-2 |  | 271 |  | Galvanised Steel Flat Strip |  | 1070 |  | PVC Type ST-2 |  | 767 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  | RUBBERIZED COTTON TAPE |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 50 | KMS |  | 500
ENQ-18774-25-26 |  | FA1100067 | 4 CORE X 150 SQ. MM. AL/ARD - STRIP (XLPE) |  |  |  | 0 |  |  |  | 1620 |  |  |  | 0 |  |  |  | 0 |  |  |  | 297 |  |  |  | 0 |  |  |  | 138 |  |  |  | 777 |  |  |  | 479 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 | [19 empty] | 18% |  |  | 100 | KMS |  | 500

## AUTO CALCULATION SHEET (2)
Noida Power Company Ltd.
TENDER SPECIFICATION NO () | NPCL/FY25-26/LTCAB/060
TENDER DESCRIPTION () | TENDER NOTIFICATION FOR TWO YEAR RATE CONTRACT OF SUPPLY OF LT ABC & LT CABLES LOT 2
Last Date & Time of Submission () | 18.03.2026 (up to 15:00 hours) OPENING ON '18.03.2026 up to 15:00 Hours
REVERSE AUCTION | Purchaser reserves the right to use Reverse Auction through SAP-SRM as an optional tool as an integral part of the entire tendering process. All techno-commercially qualified bidders shall participate in this event.
Price () | Prices are As per latest IEEMA Price Variation Clause. The prices shall variable be as per Latest IEEMA Price Variation formula as mentioned below; P=Po+AIF(Al-Alo)+XLFAL(Cc-Cco)+CCFAl(PVCc-PVCco)+FeF(Fe-Feo) All #0# denoted input prices in the formula (Al0, CC0, PVCc0, Fe0, etc.) shall be as per IEEMA Circulars of January 2026 (Published in February 2026). The prices shall variable be as per Latest IEEMA Price Variation formula as mentioned below; Formula for LV Aerial Bunch Cables P = P0 + Alph * n* (Al-Al0) + Alm(Al-Al0) + Alsl(Al-Al0) + Aln(Al-Al0) + CCFAlph *n* (CC-Cco)+CCFAlm(CC- Cco)+CCFAlsl (CC-Cco) + CCFAln(CC-Cco) This price shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
Validity () | Bids shall remain valid for 120 days from the due date of submission of the Bid & subsequent corrigendum / amendment / extension of due date of submission.
Delivery Period () | 60 Days from the date of issuance of LOI / Order; however, firm delivery dates will be mentioned in the LOI / Order.
Payment Terms () | 15% Basic value of Release Order payment shall be paid as interest free advance against submission of Advance Bank Guarantee (ABG) of a nationalized/scheduled bank(s) located at State Capital/Delhi NCR, payable at Delhi/Noida / Corporate Guarantee as may be acceptable to the NPCL, for the equal amount valid up to the PO supply completion period plus 3 months claim period. In case of delay, the BG shall be extended suitably by the bidder. Bidder can request to submit Corporate guarantee in place of ABG, Same request can be considered with discretion of NPCL management only. 80% payment shall be released on pro-rata basic within 45 days from the receipt of material at NPCL site with complete set of documents as mentioned in order. Your invoices complete in all respect along with all required documents should reach our office within 3 days. Any delay in submission of any of these documents will be to your account. It may please be noted that for payment purposes the date of receipt of documents will be considered on the basis of the date of receipt of last document, in case partial documents were received earlier. Balance 5% payment shall be released against submission of the Performance Bank Guarantee (PBG) of 5% of PO/Contract value valid till 12 months from the date of commissioning or 18 months from the date of dispatch, whichever is earlier Plus 3 months towards the Claim Period.
Standard length () | 1cx120 = 500mtr+/-2% 3cx120+120+95 = 500mtr+/-2% The cable shall be supplied in continuous standard length of 500 running meters with +2% to tolerance
Packing () | 1cx120 = Good Quality Wood 3cx120+120+95 = the cable shall be supplied on suitable sized wooden non-returnable drum of robust construction for each length of cables as per IS 10418. The cable shall be wound on non-returnable wooden drum of good quality, heavy standard construction conforming to IS:10418:1982
Technical Specification
[13 empty] | Conductor | [7 empty] | AL ALLOY |  | Insulation Screening (Metallic) | [7 empty] | Insulation Screening (Non-Metallic) |  | Insulation | [8 empty] | POLY TAPE | Inner Sheath | [8 empty] | Armouring | [10 empty] | Outer Sheath | [11 empty] | FILLER | GREASE | Water swellable Tape | Semi conducting Water Swellable tape | SEMICON TAPE | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Water Tight Compound | DRUM TYPE |  |  |  | DRUM COST PER KM | TOTAL RM COST | EXTRA CONSUMPTION | EXTRA CONSUMPTION VALUE | [11 empty] | $A$1
DOCKET NO. | BASE DATE | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER KM) | FREIGHT PER KM | PRICE INCLUDING FREIGHT (PER KM) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER KM) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST) | Alumimium | Alumimium ALLOY | Copper | AL-59 | AL-4 | AL-7 | Flexible Copper | Galvanized steel wire | Alumimium | Alumimium ALLOY | Coper tape - 0.1 mm | Copper Tape - 0.03 mm | Copper Tape - 0.035 mm | Copper Tape - 0.04 mm | Copper Tape - 0.045 mm | Copper Tape - 0.050 mm | Copper Tape - 0.060 mm | Copper Tape - 0.075 mm(DOUBLE) | Extruded semiconductive | Extruded Semiconductive(Stripable) | HT-XLPE | LT-XLPE | TR XLPE | Type A PVC | Type C PVC (HR) | Type A PVC-1.45 | Type A PVC-FR | Type A PVC-FRLS | Type A PVC-1.38 | POLY TAPE | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-1 | FRLSH PVC Type ST-2 | PVC Type ST-1 | PVC Type ST-1-PRESSURE EXTRUDED | PVC Type ST-2 | PVC COMPOUND 1.48 | PVC Type ST-2-PRESSURE EXTRUDED | ACSR CORE WIRE | ACSR DOG STEEL WIRE | Aluminium Flat Strip | Aluminium Round Wire | Alumimium Tape | Double Steel Tape | Galvanised Steel Flat Strip | Galvanised Steel Flat Strip (Double) | Galvanised Steel Flat Strip-B | Galvanised Steel Round Wire | Galvanised Steel Round Wire (Double) | FR PVC Type ST-1 | FR PVC Type ST-2 | FRLSH PVC Type ST-1 | FRLSH PVC Type ST-2 + UV resistance | ZHFR | PE-ST-3 | PE-ST-7 | PVC Type ST-2 | FRLSH PVC Type ST-2 | PVC COMPOUND 1.48 | PVC Type ST-2-PRESSURE EXTRUDED | UV & Track Resistant XLPE | FILLER | Grease | Water swellable Tape | Semi conducting Water Swellable tape | SEMICON TAPE | GLASS FIBER TAPE | COPPER WIRE 0.8 MM | RUBBERIZED COTTON TAPE | Water Tight Compound | PROPOSE DRUM TYPE | DRUM CODE | DRUM SIZE (FxbXtx Ft) | PARTY STANDARD LENGTH (MTR) |  |  |  |  | MFG% | MFG VALUE | PROF% | PROFIT VALUE | 1ST EX-WORKS | Intt % | INTT VALUE | insp% | INSP VALUE | TTR Charges% | TTR Charges VALUE
[13 empty] | 418 | 423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 0 | 423 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 0 | 0 | 0 | 79 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294 | 0
ENQ-18774-25-26 | 2026-05-01 | FA0900036 | 4 CORE X 50 SQ. MM. ALU/ARD - STRIP (XLPE) | 438368.97 | 9643 | 448011.97 | 18% | 80642.1546 | 528654.1246 | 140 | KMS | 74011577.444 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | WOOD | MD0100015 | DRUM - 48 X 20 X 28 X 2.25 - RDSO | 500 | 5114 | 330595 | 0% | 0 | 30% | 99178.5 | 0% | 0 | 429773.5 | 2% | 8595.47 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA1100012 | 4 CORE X 95 SQ. MM. AL/ARD - STRIP (XLPE) | 761698.158 | 18750 | 780448.158 | 18% | 140480.6684 | 920928.8264 | 600 | KMS | 552557295.864 | 1026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 0 | WOOD | MD0100061 | DRUM - 56 X 24 X 32 X 3 | 500 | 13354 | 574433 | 0% | 0 | 30% | 172329.9 | 0% | 0 | 746762.9 | 2% | 14935.258 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA1100067 | 4 CORE X 150 SQ. MM. AL/ARD - STRIP (XLPE) | 1166321.754 | 25500 | 1191821.754 | 18% | 214527.9157 | 1406349.6697 | 100 | KMS | 140634966.972 | 1620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 453 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 0 | WOOD | MD0100070 | DRUM - 68 X 24 X 32 X 3 | 500 | 17778 | 879579 | 0% | 0 | 30% | 263873.7 | 0% | 0 | 1143452.7 | 2% | 22869.054 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA1100025 | 4 CORE X 300 SQ. MM. AL/ARD - STRIP (XLPE) | 2214018.222 | 45900 | 2259918.222 | 18% | 406785.28 | 2666703.502 | 50 | KMS | 133335175.098 | 3240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 740 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | STEEL | SP0400123 | CORRUGATED DISPATCH STEEL DRUM 2000 X 1000 X 1200 MM | 500 | 33000 | 1669697 | 0% | 0 | 30% | 500909.1 | 0% | 0 | 2170606.1 | 2% | 43412.122 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | 0 | 3 CORE X 120 SQ MM + 1 CORE X 120 SQ MM + 1 CORE X 95 SQ MM (AB CABLES) (Insulated | 1013619.594 | 18750 | 1032369.594 | 18% | 185826.5269 | 1218196.1209 | 48 | KMS | 58473413.8042 | 1296 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WOOD | MD0100070 | DRUM - 68 X 24 X 32 X 3 | 500 | 17778 | 764419 | 0% | 0 | 30% | 229325.7 | 0% | 0 | 993744.7 | 2% | 19874.894 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA0700001 | 1 CORE X 120 SQ. MM. AL/ARD (XLPE) | 329829.24 | 10715 | 340544.24 | 18% | 61297.9632 | 401842.2032 | 14 | KMS | 5625790.8448 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | STEEL | MD0200017 | STEEL DRUM 42" X 18 X 23 | 500 | 6050 | 248740 | 0% | 0 | 30% | 74622 | 0% | 0 | 323362 | 2% | 6467.24 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA0600003 | 1 CORE X 120 SQ. MM. ALU/UNARD (XLPE) | 219442.392 | 7500 | 226942.392 | 18% | 40849.6306 | 267792.0226 | 10 | KMS | 2677920.2256 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 170 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WOOD | MD0100066 | DRUM - 40 X 15 X 23 X 2 | 500 | 4400 | 165492 | 0% | 0 | 30% | 49647.6 | 0% | 0 | 215139.6 | 2% | 4302.792 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA0700008 | 1 CORE X 300 SQ. MM. AL/ARD. (XLPE) | 683481.396 | 12500 | 695981.396 | 18% | 125276.6513 | 821258.0473 | 12 | KMS | 9855096.5674 | 810 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | STEEL | MD0200018 | STEEL DRUM - 48" X 24 X 38 | 500 | 9350 | 515446 | 0% | 0 | 30% | 154633.8 | 0% | 0 | 670079.8 | 2% | 13401.596 | 0% | 0 | 0% | 0
ENQ-18774-25-26 | 2026-05-01 | FA0700002 | 1 CORE X 630 SQ. MM. AL/ARD (XLPE) | 1348364.316 | 22500 | 1370864.316 | 18% | 246755.5769 | 1617619.8929 | 10 | KMS | 16176198.9288 | 1701 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | STEEL | SP0400125 | CORRUGATED DISPATCH STEEL DRUM 1600 X 700 X 915 MM | 500 | 17600 | 1016866 | 0% | 0 | 30% | 305059.8 | 0% | 0 | 1321925.8 | 2% | 26438.516 | 0% | 0 | 0% | 0
993347435.7487
| NOTE for sl no 1,2,3,4 | 1) Rate of Al- BALCO / HINDALCO / NALCO / VEDANTA.
2) Rate of XLPE- DOW / BOREALIS / HANWHA/ KALPANA INDUSTRIES/KLJ POLYMERS AND CHEMICALS
3) Rate of PVC- SHAKUN / KALPANA / KLJ / DCM SHRIRAM/ UNIVERSAL/ SCJ PLASTIC
4) Rate of Armour- TATA STEEL / JINDAL STEEL / SAIL / JSW
5) Please consider the extra Rs.5/KG of outer sheath for UV resistance for all items
| NOTE single core | Please consider FRLSH on outer sheath for all items
|  |  |  | Order Quantity | Stnd Length | Truck type | Fare of one truck | No of Drum in one truck | Total length in one Truck | No of Truck | Total Freight | Freight per KM | [21 empty] | CABLE WEIGHT KG/KM | [14 empty] | DRUM WEIGHT | [5 empty] | CABLE+DRUM WEIGHT |  |  | TRUCK WEIGHT
|  |  | 4 CORE X 50 SQ. MM. ALU/ARD - STRIP (XLPE) | 140 | 0.5 | 16 MT | 75000 | 16 | 8 | 18 | 1350000 | 9642.8571 | MD0100015 | [20 empty] | 1471 | [14 empty] | 155 | [5 empty] | 890.5 |  |  | 14248
|  |  | 4 CORE X 95 SQ. MM. AL/ARD - STRIP (XLPE) | 600 | 0.5 | 16 MT | 75000 | 8 | 4 | 150 | 11250000 | 18750 | MD0100061 | [20 empty] | 2260 | [14 empty] | 235 | [5 empty] | 1365 |  |  | 10920
|  |  | 4 CORE X 150 SQ. MM. AL/ARD - STRIP (XLPE) | 100 | 0.5 | 16 MT | 75000 | 6 | 3 | 34 | 2550000 | 25500 | MD0100070 | [20 empty] | 3346 | [14 empty] | 380 | [5 empty] | 2053 |  |  | 12318
|  |  | 4 CORE X 300 SQ. MM. AL/ARD - STRIP (XLPE) | 50 | 0.5 | 25 MT TRALOR | 135000 | 6 | 3 | 17 | 2295000 | 45900 | SP0400123 | [20 empty] | 5831 | [14 empty] | 280 | [5 empty] | 3195.5 |  |  | 19173
|  |  | 3 CORE X 120 SQ MM + 1 CORE X 120 SQ MM + 1 CORE X 95 SQ MM (AB CABLES) (Insulated | 48 | 0.5 | 16 MT | 75000 | 8 | 4 | 12 | 900000 | 18750 | MD0100070 | [20 empty] | 2387 | [14 empty] | 380 | [5 empty] | 1573.5 |  |  | 12588
|  |  | 1 CORE X 120 SQ. MM. AL/ARD (XLPE) | 14 | 0.5 | 16 MT | 75000 | 24 | 12 | 2 | 150000 | 10714.2857 | MD0200017 | [20 empty] | 765 | [14 empty] | 70 | [5 empty] | 452.5 |  |  | 10860
|  |  | 1 CORE X 120 SQ. MM. ALU/UNARD (XLPE) | 10 | 0.5 | 16 MT | 75000 | 36 | 18 | 1 | 75000 | 7500 | MD0100066 | [20 empty] | 554 | [14 empty] | 100 | [5 empty] | 377 |  |  | 13572
|  |  | 1 CORE X 300 SQ. MM. AL/ARD. (XLPE) | 12 | 0.5 | 16 MT | 75000 | 14 | 7 | 2 | 150000 | 12500 | MD0200018 | [20 empty] | 1518 | [14 empty] | 155 | [5 empty] | 914 |  |  | 12796
|  |  | 1 CORE X 630 SQ. MM. AL/ARD (XLPE) | 10 | 0.5 | 16 MT | 75000 | 8 | 4 | 3 | 225000 | 22500 | SP0400125 | [20 empty] | 2889 | [14 empty] | 160 | [5 empty] | 1604.5 |  |  | 12836
DOCKET NO. | BASE DATE | ITEM CODE | PROPOSE ERP ITEM NAME | EX-WORKS (PER MTR) | FREIGHT PER MTR | PRICE INCLUDING FREIGHT (PER MTR) | GST % | GST VALUE | PRICE INCLUDING GST & FREIGHT (PER MTR) | QTY | Unit | TOTAL PRICE OF FULL QTY (INCLUDING FRIGHT & GST)
ENQ-18774-25-26 | 2026-05-01 | FA0900036 | 4 CORE X 50 SQ. MM. ALU/ARD - STRIP (XLPE) | 438.37 | 9.65 | 448.02 | 18% | 80.64 | 528.66 | 140000 | MTR | 74012400 | 62722800
ENQ-18774-25-26 | 2026-05-01 | FA1100012 | 4 CORE X 95 SQ. MM. AL/ARD - STRIP (XLPE) | 761.7 | 18.75 | 780.45 | 18% | 140.48 | 920.93 | 600000 | MTR | 552558000 | 468270000
ENQ-18774-25-26 | 2026-05-01 | FA1100067 | 4 CORE X 150 SQ. MM. AL/ARD - STRIP (XLPE) | 1166.33 | 25.5 | 1191.83 | 18% | 214.53 | 1406.36 | 100000 | MTR | 140636000 | 119183000
ENQ-18774-25-26 | 2026-05-01 | FA1100025 | 4 CORE X 300 SQ. MM. AL/ARD - STRIP (XLPE) | 2214.02 | 45.9 | 2259.92 | 18% | 406.79 | 2666.71 | 50000 | MTR | 133335500 | 112996000
ENQ-18774-25-26 | 2026-05-01 | 0 | 3 CORE X 120 SQ MM + 1 CORE X 120 SQ MM + 1 CORE X 95 SQ MM (AB CABLES) (Insulated | 1013.62 | 18.75 | 1032.37 | 18% | 185.83 | 1218.2 | 48000 | MTR | 58473600 | 49553760
ENQ-18774-25-26 | 2026-05-01 | FA0700001 | 1 CORE X 120 SQ. MM. AL/ARD (XLPE) | 329.83 | 10.72 | 340.55 | 18% | 61.3 | 401.85 | 14000 | MTR | 5625900 | 4767700
ENQ-18774-25-26 | 2026-05-01 | FA0600003 | 1 CORE X 120 SQ. MM. ALU/UNARD (XLPE) | 219.45 | 7.5 | 226.95 | 18% | 40.85 | 267.8 | 10000 | MTR | 2678000 | 2269500
ENQ-18774-25-26 | 2026-05-01 | FA0700008 | 1 CORE X 300 SQ. MM. AL/ARD. (XLPE) | 683.49 | 12.5 | 695.99 | 18% | 125.28 | 821.27 | 12000 | MTR | 9855240 | 8351880
ENQ-18774-25-26 | 2026-05-01 | FA0700002 | 1 CORE X 630 SQ. MM. AL/ARD (XLPE) | 1348.37 | 22.5 | 1370.87 | 18% | 246.76 | 1617.63 | 10000 | MTR | 16176300 | 13708700
[12 empty] | 993350940 | 841823340
3504.2513
Note on I38: Author: Take from BI BOM Master

## PV AUTO CALCULATION-LTABC
Base Date | 2026-05-01
PV Terms (IEEMA CIRCULAR)
PV FORMULA (IEEMA)
P = P0 + Alph * n* (Al-Al0) + Alm(Al-Al0) + Alsl(Al-Al0) + Aln(Al-Al0) + CCFAlph *n* (CC-Cco)+CCFAlm(CC- Cco)+CCFAlsl (CC-Cco) + CCFAln(CC-Cco) This price shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
Item | Calculation part | Date of Inspection | Applicable Date |  |  | BASE DATE |  |  | FACTORS | [8 empty] | Ex-Work Po | PVC of Al | PVC of AlM | PVC of Aln | PVC of Alsl | PVC of CCFAIph | PVC of CCFAIm | PVC of CCFAIn | PVC of CCFAIsl | PV/PKM | Billing Price/PKM | VALUE ADDITION CALCULATION WITH RESPECT TO PERCENTAGE
|  |  | Date | Al | CC | Date | Alo | Cco
[9 empty] | n | Alph | Alm | Aln | Alsl | CCFAIph | CCFAIm | CCFAIn | CCFAIsl | [11 empty] | Alumimium | Alumimium ALLOY | LT-XLPE | RMC | Drum | RMC+Drum | VA | Groos VA% | Mfg % | Int % | Ins% | Net VA %
[29 empty] | 403 | 408 | 147
3 CORE X 120 SQ MM + 1 CORE X 120 SQ MM + 1 CORE X 95 SQ MM (AB CABLES) (Insulated |  | PROVISIONAL | 2026-06-12 | 422899.8 | 219178 | 2026-05-01 | 418401 | 219178 | 3 | 0.346 | 0.346 | 0.274 |  | 0.073 | 0.077 | 0.063 |  | 1013620 | 4669.7544 | 1556.5848 | 1232.6712 | 0 | 0 | 0 | 0 | 0 | 7459.0104 | 1021079.0104 | 1296 | 270 | 364 | 685956 | 17778 | 703734 | 317345.0104 | 45.09% |  | 2% |  | 43.09%

## PV AUTO CALCULATION-LTPC
Base Date | 2026-05-01
PV FORMULA
P=Po+AIF(Al-Alo)+XLFAL(Cc-Cco)+CCFAl(PVCc-PVCco)+FeF(Fe-Feo) This price shall be as per IEEMA Circulars of January 2026 (Published in February 2026).
VALUE ADDITION CALCULATION
Item | Calculation part | Date of Inspection | Applicable Date | [5 empty] | BASE DATE | [5 empty] | FACTORS | [6 empty] | Ex-Work Po | PVC of al | PVC of Cu | PVC of XLPE | PVC OF PVC | PVC OF FE | PVC OF CU TAPE | PV/PKM | Billing Price/PKM
|  |  | Date | Al | Cu | Cc | PVCc | Fe | Date | Alo | Cuo | Cco | PVCco | Feo | [16 empty] | Alumimium | LT-XLPE | PVC Type ST-2 | Aluminium Round Wire | Galvanised Steel Flat Strip | FRLSH PVC Type ST-2 + UV resistance | FRLSH PVC Type ST-2 | RUBBERIZED COTTON TAPE | RMC | Drum | RMC+Drum | VA | Groos VA% | Mfg % | Int % | Ins% | Net VA
[15 empty] | Alf | Cu | XLFAL | CCFAI | CCFCu | FeF | Smif | [9 empty] | 403 | 147 | 77 | 408 | 87 | 102 | 97 | 280
[31 empty] | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km | Kg/Km
4 CORE X 50 SQ. MM. ALU/ARD - STRIP (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 | 89250 | 2026-05-01 | 418401 |  | 219178 | 178375 | 89250 | 0.547 |  | 0.144 | 0.394 |  | 0.499 |  | 438370 | 2460.8436 | 0 | 0 | 0 | 0 | 0 | 2460.8436 | 440830.8436 | 540 | 144 | 60 | 0 | 446 | 245 | 0 | 36 | 317280 | 5114 | 322394 | 118436.8436 | 36.74 | 0 | 2 | 0 | 34.74
4 CORE X 95 SQ. MM. AL/ARD - STRIP (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 | 89250 | 2026-05-01 | 418401 |  | 219178 | 178375 | 89250 | 1.095 |  | 0.211 | 0.523 |  | 0.645 |  | 761700 | 4926.186 | 0 | 0 | 0 | 0 | 0 | 4926.186 | 766626.186 | 1026 | 204 | 96 | 0 | 577 | 310 | 0 | 47 | 545837 | 13354 | 559191 | 207435.186 | 37.1 | 0 | 2 | 0 | 35.1
4 CORE X 150 SQ. MM. AL/ARD - STRIP (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 | 89250 | 2026-05-01 | 418401 |  | 219178 | 178375 | 89250 | 1.706 |  | 0.344 | 0.762 |  | 0.79 |  | 1166330 | 7674.9528 | 0 | 0 | 0 | 0 | 0 | 7674.9528 | 1174004.9528 | 1620 | 315 | 165 | 0 | 735 | 453 | 0 | 58 | 838261 | 17778 | 856039 | 317965.9528 | 37.14 | 0 | 2 | 0 | 35.14
4 CORE X 300 SQ. MM. AL/ARD - STRIP (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 | 89250 | 2026-05-01 | 418401 |  | 219178 | 178375 | 89250 | 3.514 |  | 0.62 | 1.414 |  | 1.113 |  | 2214020 | 15808.7832 | 0 | 0 | 0 | 0 | 0 | 15808.7832 | 2229828.7832 | 3240 | 560 | 240 | 0 | 971 | 740 | 0 | 80 | 1588877 | 33000 | 1621877 | 607951.7832 | 37.48 | 0 | 2 | 0 | 35.48
1 CORE X 120 SQ. MM. AL/ARD (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 |  | 2026-05-01 | 418401 |  | 219178 | 178375 |  | 0.5443 |  | 0.076 | 0.184 |  |  |  | 329830 | 2448.6968 | 0 | 0 | 0 | 0 | 0 | 2448.6968 | 332278.6968 | 324 | 75 | 0 | 176 | 0 | 0 | 175 | 15 | 234580 | 6050 | 240630 | 91648.6968 | 38.09 | 0 | 2 | 0 | 36.09
1 CORE X 120 SQ. MM. ALU/UNARD (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 |  | 2026-05-01 | 418401 |  | 219178 | 178375 |  | 0.345 |  | 0.06 | 0.176 |  |  |  | 219450 | 1552.086 | 0 | 0 | 0 | 0 | 0 | 1552.086 | 221002.086 | 324 | 60 | 0 | 0 | 0 | 0 | 170 | 0 | 155882 | 4400 | 160282 | 60720.086 | 37.88 | 0 | 2 | 0 | 35.88
1 CORE X 300 SQ. MM. AL/ARD. (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 |  | 2026-05-01 | 418401 |  | 219178 | 178375 |  | 1.2582 |  | 0.164 | 0.301 |  |  |  | 683490 | 5660.3902 | 0 | 0 | 0 | 0 | 0 | 5660.3902 | 689150.3902 | 810 | 158 | 0 | 264 | 0 | 0 | 265 | 21 | 488953 | 9350 | 498303 | 190847.3902 | 38.3 | 0 | 2 | 0 | 36.3
1 CORE X 630 SQ. MM. AL/ARD (XLPE) |  | PROVISIONAL | 2026-06-12 | 422899.8 |  | 219178 | 178375 |  | 2026-05-01 | 418401 |  | 219178 | 178375 |  | 2.365 |  | 0.0318 | 0.497 |  |  |  | 1348370 | 10639.662 | 0 | 0 | 0 | 0 | 0 | 10639.662 | 1359009.662 | 1701 | 295 | 0 | 464 | 0 | 0 | 400 | 29 | 965100 | 17600 | 982700 | 376309.662 | 38.29 | 0 | 2 | 0 | 36.29

## terms (hidden)
The quoted prices are on Firm inclusive of packing and forwading but exclusive of GST Statutory levies.
The quoted prices are on VARIABLE basis with PV base Date: DD/MM/YYYY as per "IEEMA", inclusive of packing and forwading but exclusive of GST Statutory levies.
The above prices are quoted on Ex-works basis, where freight will be charged extra.
The above prices are quoted on FOR Destination basis, where freight is included, refer Price offer.
The above prices are quoted on Ex-works+Freight basis.
20% Advance and Balance against PI (Proforma Invoice) prior to dispatch
100% against "90 days" LC, where 90 days usance interest will be borne by LPIPL
100% against "120 days" LC, where 120 days usance interest will be borne by LPIPL
100% against "45 days" LC, where 45 days usance interest will be borne by LPIPL
100% against "60 days" LC, where 60 days usance interest will be borne by LPIPL
100% against "30 days" LC, where 30 days usance interest will be borne by LPIPL
100% against 60 days PDC from the date of MRC/MRN
"45 days" Open Credit
"30 days" Open Credit
100% against "90 days" Bill Discounting/Bill of Exchange/VFS
100% against "179 days" Bill Discounting/Bill of Exchange/VFS
25% advance, balance 90 days Credit.
90 days VFS.
"12 months" from the date of commissioning, or "18 months" from the date of Supply, whichever is earlier.
"18 months" from the date of commissioning, or "36 months" from the date of Supply, whichever is earlier.
Within "4-6 weeks" from the date of Receipt of your technically and commercially clear order along with manufacturing clearance, drum schedule, approved GTP/Drawing.
Within "6-8 weeks" from the date of Receipt of your technically and commercially clear order along with manufacturing clearance, drum schedule, approved GTP/Drawing.
Negotiable